## Kits
Version 2026-007, Effective August 27, 2026
Infusion And Supply Kits
Kit Code | Kit Description | Component Item Description in Kit | Quantity of Item in Kit
PIN6100 | Subcutaneous Line Start Kit | IV Catheter, Sub Q, Closed Safety System, Y Adapter, 24GA X 0.75". Saf-T-Intima, Yellow, EA | 4
| Subcutaneous Line Start Kit | MicroClave Clear Neutral Connector, EA | 2
| Subcutaneous Line Start Kit | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
| Subcutaneous Line Start Kit | Needle, Blunt Fill, 18GA X 1" (305181), EA | 4
| Subcutaneous Line Start Kit | Syringe, Tuberculin, Luer Lock, 1ml (309628), EA | 10
| Subcutaneous Line Start Kit | Swabstick, 2% Chlorhexidine Gluconate (102.07), EA | 2
| Subcutaneous Line Start Kit | Tegaderm Transparent Film Dressing, with Border, Frame Style, 10.16 X 12cm (4 X 4.75") (1626W), EA | 2
| Subcutaneous Line Start Kit | Paper Surgical Tape, 1" X 10yd (A5110), EA | 1
| Subcutaneous Line Start Kit | Cap for Luer Lock Syringe, Sterile, EA | 10
| Subcutaneous Line Start Kit | Sharps Container, 0.95 litre, Yellow (367216), EA | 1
PIN6101 | Peripheral IV Start Kit | IV Catheter, SuperCath 5, with Blood Control, Safety, 24GA X 0.75" (19mm), EA | 2
| Peripheral IV Start Kit | IV Catheter, SuperCath 5 with Blood Control, Safety, 22GA X 1" (25mm), EA | 1
| Peripheral IV Start Kit | IV Catheter, SuperCath 5 with Blood Control, Safety, 20GA X 1.25" (31mm), EA | 1
| Peripheral IV Start Kit | Extension Set, Smallbore with MicroClave, 7", Approx 0.24ml, Clamp, Rotating Luer, EA | 2
| Peripheral IV Start Kit | MicroClave Clear Neutral Connector, EA | 2
| Peripheral IV Start Kit | Tourniquet Strap, LF 1 X 18" (CH5060), EA | 2
| Peripheral IV Start Kit | Gauze Sponge, Non-Woven, 4 Ply, Sterile, 5 x 5 cm (2 X 2"), 2/pkg (A2240), EA | 4
| Peripheral IV Start Kit | Swabstick, 2% Chlorhexidine Gluconate and 70% Isopropyl Alcohol (102.03), EA | 4
| Peripheral IV Start Kit | Disposable Underpads, 43 x 61 cm (17 x 24") (350), EA | 1
| Peripheral IV Start Kit | Tegaderm IV Advanced Securement Dressing, Transparent Film, 6.35 X 7cm (2.5 X 2.75") (1683), EA | 2
| Peripheral IV Start Kit | Tape, Medipore Soft Cloth, 5cm X 9.14M (2862), EA | 1
| Peripheral IV Start Kit | Solution, 0.9% Sodium Chloride, Pre-filled Syringe, Preservative-free, 3ml (306590), EA | 4
| Peripheral IV Start Kit | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
| Peripheral IV Start Kit | Bandage, Conforming, Sterile, Latex-Free, 4" x 4.1 yrd (A406), EA | 2
| Peripheral IV Start Kit | Sharps Container, 0.95 litre, Yellow (367216), EA | 1
PIN6102 | Central Line / PICC Dressing Kit | Gloves, Medium Sterile, 2/pkg, EA | 2
| Central Line / PICC Dressing Kit | Solution, 0.9% Sodium Chloride Prefilled Syringe, Preservative-free, 10ml, EA | 6
| Central Line / PICC Dressing Kit | Extension Set, Smallbore with MicroClave, 7", Approx 0.24ml, Clamp, Rotating Luer, EA | 1
| Central Line / PICC Dressing Kit | Tegaderm IV Advanced, Dressing, PICC/CVC Securement, 8.5 X11.5cm (3.5 X 4.5"), EA | 2
| Central Line / PICC Dressing Kit | MicroClave Clear Neutral Connector, EA | 2
| Central Line / PICC Dressing Kit | Curos™ Disinfecting Cap for Needleless Connectors, Port Protectors, EA | 2
| Central Line / PICC Dressing Kit | Gauze Sponges, 10 x 10cm (4 X 4"), EA | 2
| Central Line / PICC Dressing Kit | No Sting Barrier Wipe, No Alcohol, 1ml (3344E), EA | 2
| Central Line / PICC Dressing Kit | Swabstick, 2% Chlorhexidine Gluconate and 70% Isopropyl Alcohol (102.03), EA | 4
| Central Line / PICC Dressing Kit | Paper Surgical Tape, 1" X 10yd (A5110), EA | 1
| Central Line / PICC Dressing Kit | Surgical Mask, Level 2 (205517), 50/Box | 1
| Central Line / PICC Dressing Kit | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
| Central Line / PICC Dressing Kit | Bandage, Conforming, Sterile, Latex-Free, 4" x 4.1 yrd (A406), EA | 2
| Central Line / PICC Dressing Kit | Drape, Non Fenestrated, Sterile, 46 x 66cm (MC50010), EA | 1
PIN6103 | Port Access and Dressing Kit | Gloves, Medium Sterile, 2/pkg, EA | 2
| Port Access and Dressing Kit | Solution, 0.9% Sodium Chloride Prefilled Syringe, Preservative-free, 10ml, EA | 6
| Port Access and Dressing Kit | MicroClave Clear Neutral Connector, EA | 2
| Port Access and Dressing Kit | Tegaderm Transparent Film Dressing, with Border, Frame Style, 10.16 X 12cm (4 X 4.75") (1626W), EA | 1
| Port Access and Dressing Kit | Gauze Sponge, Non-Woven, 4 Ply, Sterile, 5 x 5 cm (2 X 2"), 2/pkg (A2240), EA | 4
| Port Access and Dressing Kit | No Sting Barrier Wipe, No Alcohol, 1ml (3344E), EA | 2
| Port Access and Dressing Kit | Swabstick, 2% Chlorhexidine Gluconate and 70% Isopropyl Alcohol (102.03), EA | 4
| Port Access and Dressing Kit | Tape, Medipore Soft Cloth, 5cm X 9.14M (2862), EA | 1
| Port Access and Dressing Kit | Surgical Mask, Level 2 (205517), 50/Box | 1
| Port Access and Dressing Kit | Drape, Non Fenestrated, Sterile, 46 x 66cm (MC50010), EA | 1
| Port Access and Dressing Kit | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
| Port Access and Dressing Kit | Gripper Needle, Safety II, Needleless Port, Y-site Injection, 20GA X 1", 8" long, EA | 1
| Port Access and Dressing Kit | Safety Huber Needle Set, without Y Injection Site, 22G X 0.5" (CLH0035), EA | 1
| Port Access and Dressing Kit | Sharps Container, 0.95 litre, Yellow (367216), EA | 1
PIN6104 | Port Kit (Independent Administration) | Gloves, Medium Sterile, 2/pkg, EA | 2
| Port Kit (Independent Administration) | Gauze Sponges, 10 x 10cm (4 X 4"), EA | 2
| Port Kit (Independent Administration) | Gripper Needle, Safety II, Needleless Port, Y-site Injection, 20GA X 1", 8" long, EA | 1
| Port Kit (Independent Administration) | Solution, 0.9% Sodium Chloride Prefilled Syringe, Preservative-free, 10ml, EA | 6
| Port Kit (Independent Administration) | Extension Set, Smallbore with MicroClave, 17", Approx 0.53ml, Clamp, Rotating Luer, EA | 1
| Port Kit (Independent Administration) | MicroClave Clear Neutral Connector, EA | 2
| Port Kit (Independent Administration) | No Sting Barrier Wipe, No Alcohol, 1ml (3344E), EA | 2
| Port Kit (Independent Administration) | Swabstick, 2% Chlorhexidine Gluconate and 70% Isopropyl Alcohol (102.03), EA | 4
| Port Kit (Independent Administration) | Paper Surgical Tape, 1" X 10yd (A5110), EA | 1
| Port Kit (Independent Administration) | Tegaderm Transparent Film Dressing, with Border, Frame Style, 10.16 X 12cm (4 X 4.75") (1626W), EA | 2
| Port Kit (Independent Administration) | Safety Huber Needle Set, without Y Injection Site, 22G X 0.5" (CLH0035), EA | 1
| Port Kit (Independent Administration) | Surgical Mask, Level 2 (205517), 50/Box | 1
| Port Kit (Independent Administration) | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
| Port Kit (Independent Administration) | Sharps Container, 0.95 litre, Yellow (367216), EA | 1
PIN6105 | Central Line/PICC Dressing Kit (Independent Administration) | Gloves, Medium Sterile, 2/pkg, EA | 2
| Central Line/PICC Dressing Kit (Independent Administration) | Solution, 0.9% Sodium Chloride Prefilled Syringe, Preservative-free, 10ml, EA | 6
| Central Line/PICC Dressing Kit (Independent Administration) | Extension Set, Smallbore with MicroClave, 17", Approx 0.53ml, Clamp, Rotating Luer, EA | 2
| Central Line/PICC Dressing Kit (Independent Administration) | Tegaderm IV Advanced, Dressing, PICC/CVC Securement, 8.5 X11.5cm (3.5 X 4.5"), EA | 2
| Central Line/PICC Dressing Kit (Independent Administration) | MicroClave Clear Neutral Connector, EA | 2
| Central Line/PICC Dressing Kit (Independent Administration) | Curos™ Disinfecting Cap for Needleless Connectors, Port Protectors, EA | 2
| Central Line/PICC Dressing Kit (Independent Administration) | Gauze Sponges, 10 x 10cm (4 X 4"), EA | 2
| Central Line/PICC Dressing Kit (Independent Administration) | No Sting Barrier Wipe, No Alcohol, 1ml (3344E), EA | 2
| Central Line/PICC Dressing Kit (Independent Administration) | Swabstick, 2% Chlorhexidine Gluconate and 70% Isopropyl Alcohol (102.03), EA | 4
| Central Line/PICC Dressing Kit (Independent Administration) | Surgical Mask, Level 2 (205517), 50/Box | 1
| Central Line/PICC Dressing Kit (Independent Administration) | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
| Central Line/PICC Dressing Kit (Independent Administration) | Bandage, Conforming, Sterile, Latex-Free, 4" x 4.1 yrd (A406), EA | 2
| Central Line/PICC Dressing Kit (Independent Administration) | Paper Surgical Tape, 1" X 10yd (A5110), EA | 1
PIN6106 | Peripheral IV Start Kit (Independent Administration) | IV Catheter, SuperCath 5, with Blood Control, Safety, 24GA X 0.75" (19mm), EA | 1
| Peripheral IV Start Kit (Independent Administration) | IV Catheter, SuperCath 5 with Blood Control, Safety, 22GA X 1" (25mm), EA | 2
| Peripheral IV Start Kit (Independent Administration) | IV Catheter, SuperCath 5 with Blood Control, Safety, 20GA X 1.25" (31mm), EA | 1
| Peripheral IV Start Kit (Independent Administration) | Extension Set, Smallbore with MicroClave, 17", Approx 0.53ml, Clamp, Rotating Luer, EA | 2
| Peripheral IV Start Kit (Independent Administration) | MicroClave Clear Neutral Connector, EA | 2
| Peripheral IV Start Kit (Independent Administration) | Tourniquet Strap, LF 1 X 18" (CH5060), EA | 2
| Peripheral IV Start Kit (Independent Administration) | Gauze Sponge, Non-Woven, 4 Ply, Sterile, 5 x 5 cm (2 X 2"), 2/pkg (A2240), EA | 4
| Peripheral IV Start Kit (Independent Administration) | Swabstick, 2% Chlorhexidine Gluconate and 70% Isopropyl Alcohol (102.03), EA | 4
| Peripheral IV Start Kit (Independent Administration) | Disposable Underpads, 43 x 61 cm (17 x 24") (350), EA | 1
| Peripheral IV Start Kit (Independent Administration) | Tegaderm Transparent Film Dressing, Frame Style, 6 X 7cm (2 3/8 X 2.75") (1624W), EA | 2
| Peripheral IV Start Kit (Independent Administration) | Tape, Medipore Soft Cloth, 5cm X 9.14M (2862), EA | 1
| Peripheral IV Start Kit (Independent Administration) | Solution, 0.9% Sodium Chloride, Pre-filled Syringe, Preservative-free, 3ml (306590), EA | 4
| Peripheral IV Start Kit (Independent Administration) | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
| Peripheral IV Start Kit (Independent Administration) | Bandage, Conforming, Sterile, Latex-Free, 4" x 4.1 yrd (A406), EA | 2
| Peripheral IV Start Kit (Independent Administration) | Sharps Container, 0.95 litre, Yellow (367216), EA | 1
PIN6109 | Symptom Relief Kit | Cap for Luer Lock Syringe, Sterile, EA | 30
| Symptom Relief Kit | IV3000™ Hand Catheter Dressing, Moisture Responsive, 10cm x 12cm, EA | 10
| Symptom Relief Kit | IV Catheter, Sub Q, Closed Safety System, Y Adapter, 24GA X 0.75". Saf-T-Intima, Yellow, EA | 5
| Symptom Relief Kit | IV Catheter Closed Safety System, Y Adapter, 22GA X 0.75". Saf-T-Intima, Blue, EA | 5
| Symptom Relief Kit | MicroClave Clear Neutral Connector, EA | 10
| Symptom Relief Kit | Needle, Blunt Fill, 18GA X 1" (305181), EA | 15
| Symptom Relief Kit | Syringe, Tuberculin, Luer Lock, 1ml (309628), EA | 50
| Symptom Relief Kit | Needle, Hypodermic Safety, 25GA X 5/8" (1182558), EA | 20
| Symptom Relief Kit | Syringe, Luer Lock, 3ml (1180300777), EA | 5
| Symptom Relief Kit | Syringe, Catheter Tip, 60cc (1186000444), EA | 1
| Symptom Relief Kit | Gauze Sponge, Non-Woven, 4 Ply, Sterile, 5 x 5 cm (2 X 2"), 2/pkg (A2240), EA | 5
| Symptom Relief Kit | Solution, Irrigation, 0.9% Sodium Chloride, 500ml Btl (JF7123), EA | 1
| Symptom Relief Kit | Disposable Underpads, 43 x 61 cm (17 x 24") (350), EA | 1
| Symptom Relief Kit | Lubricant, Jelly, 3.5gr (LUB035), EA | 3
| Symptom Relief Kit | Tray, Catheter Foley, Sterile (AS880), EA | 1
| Symptom Relief Kit | Catheter, Urethral, Two-way Foley, Silicone-Elastomer Coated Latex, 16FR, 10cc (DYND11756), EA | 1
| Symptom Relief Kit | Catheter, Urethral, Two-way Foley, Silicone-Elastomer Coated Latex, 14FR, 10cc (DYND11754), EA | 1
| Symptom Relief Kit | Drainage Bag for Urine 2000mL (DYND15203), EA | 1
| Symptom Relief Kit | Plastic Porous Surgical Tape, Hypoallergenic, Clear, 2.5cm X 9.1m roll (1" X 10yd) (1527-1), EA | 1
| Symptom Relief Kit | Paper Surgical Tape, 1" X 10yd (A5110), EA | 1
| Symptom Relief Kit | Oral Swab, Untreated, Individually Wrapped, EA | 20
| Symptom Relief Kit | Sharps Container, Vertical Entry, 3 Litre, Yellow (300450), EA | 1
| Symptom Relief Kit | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
PIN6110 | Chemo Deaccess / Disconnect Kit | Solution, 0.9% Sodium Chloride Prefilled Syringe, Preservative-free, 10ml, EA | 4
| Chemo Deaccess / Disconnect Kit | Dual cap, Male/Female, Luer Lock, EA | 2
| Chemo Deaccess / Disconnect Kit | Sharps Container, Chemo, 2 gallon (7.5 litres) Red Lid (8982CRH), EA | 1
| Chemo Deaccess / Disconnect Kit | Gauze Sponges, 10 x 10cm (4 X 4"), EA | 2
| Chemo Deaccess / Disconnect Kit | Nitrile Powder-Free Gloves, Sterile, Large, Pair (320-MDS198416), EA | 2
| Chemo Deaccess / Disconnect Kit | Disposable Underpads, 43 x 61 cm (17 x 24") (350), EA | 2
| Chemo Deaccess / Disconnect Kit | Surgical Mask, Level 2 (205517), 50/Box | 1
| Chemo Deaccess / Disconnect Kit | Gown, Chemo, Polycoated, Maximum Protection, EA | 1
| Chemo Deaccess / Disconnect Kit | Nitrile Powder-Free Gloves, Sterile, Medium, Pr (88SNP03M), EA | 2
| Chemo Deaccess / Disconnect Kit | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
PIN6111 | Chemo Spill Kit | Gown, Chemo, Polycoated, Maximum Protection, EA | 1
| Chemo Spill Kit | Shoe Covers, Pair, EA | 1
| Chemo Spill Kit | Chemosorb Pad, EA | 2
| Chemo Spill Kit | Chemo Waste Bag, EA | 2
| Chemo Spill Kit | Spill Towel, EA | 3
| Chemo Spill Kit | Scoop and Scraper Set, EA | 1
| Chemo Spill Kit | Nitrile Powder-Free Gloves, Sterile, Large, Pair (320-MDS198416), EA | 2
| Chemo Spill Kit | Mask, Dust/Mist Respirator (CMQM4W), EA | 1
| Chemo Spill Kit | Nitrile Powder-Free Gloves, Sterile, Medium, Pr (88SNP03M), EA | 2
| Chemo Spill Kit | Sharps Container, Chemo, 2 gallon (7.5 litres) Red Lid (8982CRH), EA | 1
| Chemo Spill Kit | Face Shield, 9" (F1SHIELD50), EA | 1
PIN6112 | MAID Kit | Solution, 0.9% Sodium Chloride, Injection, 500ml Bag, EA | 1
| MAID Kit | IV Catheter, SuperCath 5 with Blood Control, Safety, 22GA X 1" (25mm), EA | 3
| MAID Kit | IV Catheter, SuperCath 5 with Blood Control, Safety, 20GA X 1.25" (31mm), EA | 3
| MAID Kit | Admin Set, Continu-flo, 3 Needleless Luer Activated Valve, 105", EA | 1
| MAID Kit | Solution, 0.9% Sodium Chloride Prefilled Syringe, Preservative-free, 10ml, EA | 10
| MAID Kit | Extension Set, Smallbore with MicroClave, 7", Approx 0.24ml, Clamp, Rotating Luer, EA | 3
| MAID Kit | Syringe, Luer Lock, 50ml, EA | 3
| MAID Kit | Needle, Blunt Fill, 18GA X 1" (305181), EA | 8
| MAID Kit | Tourniquet Strap, LF 1 X 18" (CH5060), EA | 2
| MAID Kit | Syringe, Luer Lock, 3ml (1180300777), EA | 2
| MAID Kit | Syringe, Luer Lock, 12ml (Z1181200777), EA | 2
| MAID Kit | Syringe, Luer Lock, 35cc (1183500777), EA | 3
| MAID Kit | Gauze Sponge, Non-Woven, 4 Ply, Sterile, 5 x 5 cm (2 X 2"), 2/pkg (A2240), EA | 4
| MAID Kit | Disposable Underpads, 43 x 61 cm (17 x 24") (350), EA | 3
| MAID Kit | Plastic Porous Surgical Tape, Hypoallergenic, Clear, 2.5cm X 9.1m roll (1" X 10yd) (1527-1), EA | 1
| MAID Kit | Tegaderm IV Advanced Securement Dressing, Transparent Film, 6.35 X 7cm (2.5 X 2.75") (1683), EA | 3
| MAID Kit | Nitrile Powder-Free Gloves, Sterile, Medium, Pr (88SNP03M), EA | 2
| MAID Kit | Sharps Container, Vertical Entry, 3 Litre, Yellow (300450), EA | 1
| MAID Kit | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 10
| MAID Kit | Bandage, Conforming, Sterile, Latex-Free, 4" x 4.1 yrd (A406), EA | 1
PIN6113 | Remdesivir Reconstitution | Solution, 0.9% Sodium Chloride, Injection, 250ml Bag, EA | 3
| Remdesivir Reconstitution | Water, Sterile Injection Vial, 10ml, EA | 10
| Remdesivir Reconstitution | Syringe, Luer Lock Slip Tip, 20ml (302831), EA | 10
| Remdesivir Reconstitution | Needle, Blunt Fill, 18GA X 1" (305181), EA | 10
| Remdesivir Reconstitution | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20
| Remdesivir Reconstitution | IV Administraton Set with Rate Flow, 15 Drops, EA | 3
PS4930 | Basic Wound Kit | Solution, 0.9% Sodium Chloride, Irrigation, 118ml, EA | 2
| Basic Wound Kit | Gauze Sponges, 10 x 10cm (4 X 4"), EA | 25
| Basic Wound Kit | Applicator, Cotton Tip, 2/pkg, EA | 4
| Basic Wound Kit | Tray, Dressing, Plastic Forceps, Wastebag, 2 Metal Forceps, Towels, Sponges, Sterile (85-2001), EA | 1
| Basic Wound Kit | Wound Measure Kit (DUP59901), EA | 1
| Basic Wound Kit | Scissors Blunt, Surgical, Sterile, Disposable (85-4202), EA | 1
| Basic Wound Kit | Mesorb Absorbent Dressing, Sterile, 10 X 13cm (677001), EA | 3
| Basic Wound Kit | No Sting Barrier Wipe, No Alcohol, 1ml (3344E), EA | 2
| Basic Wound Kit | Mefix Self Adhesive Fabric Tape, Secure Fixation, 10cm X 10m (311000), EA | 1
| Basic Wound Kit | Bandage, Conforming, Sterile, Latex-Free, 4" x 4.1 yrd (A406), EA | 3
PS4931 | Packing Kit | Solution, 0.9% Sodium Chloride, Irrigation, 118ml, EA | 2
| Packing Kit | Gauze Sponges, 10 x 10cm (4 X 4"), EA | 2
| Packing Kit | Applicator, Cotton Tip, 2/pkg, EA | 3
| Packing Kit | Curity Packing Strip, Plain, 1/2" X 5 Yd Bottle (7632), EA | 1
| Packing Kit | Curity Packing Strip, Plain, 1" X 5 Yd Bottle (7633), EA | 1
| Packing Kit | Mesorb Absorbent Dressing, Sterile, 15 X 23cm (677601), EA | 2
| Packing Kit | Tape, Medipore Soft Cloth, 5cm X 9.14M (2862), EA | 1
| Packing Kit | Scissors Blunt, Surgical, Sterile, Disposable (85-4202), EA | 1
| Packing Kit | Tray, Dressing, Plastic Forceps, Wastebag, 2 Metal Forceps, Towels, Sponges, Sterile (85-2001), EA | 1
PS4932 | Indwelling Catheter Kit | Tray, Catheter Foley, Sterile (AS880), EA | 1
| Indwelling Catheter Kit | Drainage Bag for Urine 2000mL (DYND15203), EA | 1
| Indwelling Catheter Kit | Leg Bag for Urine, 500mL with 18in ext. tube (453919), EA | 1
| Indwelling Catheter Kit | StatLock, Stabilization Device, Foley Tricot Anchor Pad, for Latex and Silicone Catheters (FOL0102), EA | 1
| Indwelling Catheter Kit | Syringe, Luer Lock, 12ml (Z1181200777), EA | 1
| Indwelling Catheter Kit | + order the correct size catheter by CC
PS4933 | JP Drain Kit | Gauze Sponges, 10 x 10cm (4 X 4"), EA | 15
| JP Drain Kit | Gauze Sponge, Non-Woven, 4 Ply, Sterile, 5 x 5 cm (2 X 2"), 2/pkg (A2240), EA | 10
| JP Drain Kit | Suture Removal Kit, Sterile (MDS707555), EA | 1
| JP Drain Kit | Tracheostomy Drain Sponge, Six Ply, Sterile, 10 X 10cm (4 X 4"), (DUP84916), 2/Pkg | 5
| JP Drain Kit | Paper Surgical Tape, 1" X 10yd (A5110), EA | 1
| JP Drain Kit | Container, Specimen, Sterile, 90 mL (NCS902-1W), EA | 1
| JP Drain Kit | Solution, 0.9% Sodium Chloride, spray nozzle for irrigation pressure, 30ml (WCL64938), EA | 2
PS4934 | Paracentesis Kit | Gauze Sponges, 10 x 10cm (4 X 4"), EA | 4
| Paracentesis Kit | Angiocath, 14G x 3.25” (BD) (382268), EA | 2
| Paracentesis Kit | Extension Set Y-site with 2 Pinch Clamps 7in (10-1030), EA | 1
| Paracentesis Kit | Solution, 0.9% Sodium Chloride Prefilled Syringe, Preservative-free, 10ml, EA | 2
| Paracentesis Kit | Extension Set, Smallbore with MicroClave, 7", Approx 0.24ml, Clamp, Rotating Luer, EA | 1
| Paracentesis Kit | MicroClave Clear Neutral Connector, EA | 2
| Paracentesis Kit | Syringe, Luer Lock Tip, 5cc (309646), EA | 2
| Paracentesis Kit | Tray, Dressing, Plastic Forceps, Wastebag, 2 Metal Forceps, Towels, Sponges, Sterile (85-2001), EA | 1
| Paracentesis Kit | Disposable Safety Scalpel #10 (05SM10), EA | 1
| Paracentesis Kit | Needle, Hypodermic Safety, 25GA X 5/8" (1182558), EA | 2
| Paracentesis Kit | Syringe, Luer Lock, 12ml (Z1181200777), EA | 1
| Paracentesis Kit | Needle, Hypodermic Safety, 25GA X 1" (1182510), EA | 2
| Paracentesis Kit | Needle, Eclipse, Hypodermic, 21GA X 1-1/2" (305765), EA | 2
| Paracentesis Kit | Nitrile Powder-Free Gloves, Sterile, Large, Pair (320-MDS198416), EA | 2
| Paracentesis Kit | Swabstick, 2% Chlorhexidine Gluconate and 70% Isopropyl Alcohol (102.03), EA | 4
| Paracentesis Kit | Disposable Underpads, 43 x 61 cm (17 x 24") (350), EA | 1
| Paracentesis Kit | Tegaderm Transparent Film Dressing, with Border, Frame Style, 10.16 X 12cm (4 X 4.75") (1626W), EA | 2
| Paracentesis Kit | Drainage Bag, 4L (M08101), EA | 2
| Paracentesis Kit | Drape, Non Fenestrated, Sterile, 46 x 66cm (MC50010), EA | 4
| Paracentesis Kit | Easifix Cohesive, Self-Adhesive Fixation Bandage, 5cm, 4m roll (7142910), EA | 1
| Paracentesis Kit | Nitrile Powder-Free Gloves, Sterile, Medium, Pr (88SNP03M), EA | 2
| Paracentesis Kit | Drg Lidocaine 2%, 5 mL amp (AST) (126AD01), EA | 3
| Paracentesis Kit | Sharps Container, Vertical Entry, 3 Litre, Yellow (300450), EA | 1
| Paracentesis Kit | SINGLE Antiseptic 70% Isopropyl Alcohol Pad (103-03), EA | 20